## Slide 1
By
Dr. Wazir Muhammad Laghari
Electrical Engineering Department
BUET, Khuzdar
Computational Methods in
Power System Analysis
Lecture-3 Incidence and network matrices

## Slide 2: Contents
Degree of Node Or Vertex
Indegree And Outdegree of Node
Power System Networks Converted Into Graphs
Draw the oriented graph of power line diagram
Tree
Twigs
Links Or Chords
Cotree
Cut Vertex and Cut-sets

## Slide 3: Graph And Subgraph
A Graph shows the geometrical interconnection of the element of a network. OR
A Graph is a set of points, called nodes or vertices, which are interconnected by a set of lines called edges.
A Subgraph is any subset of the graph.
node 3
node 1
node 2
node 4
node 5
edge
edge

## Slide 4
B
C
A
Vertices = V = {A, B, C}
Edges = E = {(A,B), (B,C), (C,A)} OR
Edges = E = {(B,A), (C,B), (A,C)}
1
2
3
4
Example: Find the Vertices and Edges of the graph given below:

## Slide 5: Connected And Disconnected Graph
A graph is said to be connected if there is a path between every pair of vertex.
A graph is said to be disconnected if at least two vertices of the graph are not connected by a path.

## Slide 6: Rank of Graph
A rank of a graph is n-1, where n is the number of node in the graph.
A graph whose vertices and edges are subsets of another graph is known as Subgraph.
Subgraph
Graph G Subgraph of G

## Slide 7: Oriented Graph
1
2
3
4
1
2
3
4
Simple Graph Oriented Graph
If each element of the connected graph is assigned a direction, than it is called Oriented Graph.

## Slide 8: Degree of Node Or Vertex
It is the number of branches incident on it is called as Degree of Node.
2
2 0
Example: Find the Degree of each Node in the given graph?
a d
b c
e
2
2
3 2

## Slide 9: Indegree And Outdegree of Node
Number of edges entering a node is known as Indegree of Node.
Number of edges leaving a node is known as Outdegree of Node.
Example: Calculate the Indegree and Outdegree of each Node?
Nodes | Indegree | Outdegree
a | 0 | 2
b | 2 | 3
c | 2 | 2
d | 3 | 0
e | 1 | 1
Nodes | Indegree | Outdegree
1 | 1 | 1
2 | 2 | 3
4 | 2 | 2
5 | 2 | 1

## Slide 10: Power System Networks Converted Into Graphs
Each elements R, L and C are converted in to simple line.
Each Node is converted into dots.
Voltage source is converted as a short circuit.
Current source is converted into an open circuit.

## Slide 11: Q: Draw the plain graph of the network shown below

## Slide 12: Q: Draw the plain graph of the network shown below

## Slide 13: Q: Draw the plain graph of the network shown below

## Slide 14: Q: Draw the oriented graph of the network shown below

## Slide 15: Q: Draw the oriented graph of the network shown below

## Slide 16
1 2 3 4
0
Question: Draw the oriented graph of power line diagram
OR
1
Bus bar 1
Remember KCL, which states that sum of current entering a node is equal to sum of current leaving the node. BUS BAR is basically the practical example of that “NODE”.
BUS BAR connected to multiple feeder together.

## Slide 17: Tree
A Tree is a connected graph having no closed path. OR
A connected graph that has a single (unique) path between every pair of nodes is called Tree .
All nodes of connected graph present in a Tree.
No any closed loop in a Tree
……………………………..(1) OR
Where, n is the number of nodes in a Tree and b is the number of branches in a Tree

## Slide 18
EXAMPLE: Draw the different forms of a Tree from a given circuit?
SOLUTION
Where, n is the number of nodes in a Tree and b is the number of branches in a Tree

## Slide 19: Twigs
Branches or edges of a Tree is known as Twigs.
EXAMPLE: Find the number of Twigs present in a Tree?

## Slide 20
EXAMPLE: Draw the Tree of a given circuit and calculate the Twigs of Tree?
SOLUTION

## Slide 21: Links Or Chords
OR
Put the value of b from equation (1), we get
Those branches of the graph which are not in the tree is called Links or Chords

## Slide 22
EXAMPLE: Draw the Tree of a given graph, and calculate the:
(1) Twigs (2) Links (3) Nodes from the Tree?
SOLUTION:

## Slide 23: EXAMPLE: Calculate the number of Chords in the given circuit will be?
SOLUTION
Graph
Number of Chords = branches of tree = 3

## Slide 24: Cotree
Collection of branches that are not there in the specified tree of that graph is called Cotree. OR
Collection of links is called a co tree. OR
Complementary of Tree is called Cotree
EXAMPLE: Draw the Co tree of a given Circuit
SOLUTION

## Slide 25
EXAMPLE: Draw the Co tree of a given Circuit
SOLUTION
OR
OR

## Slide 26
EXAMPLE: Draw the Tree and Co tree of a given directed graph as shown in Figure below
SOLUTION
Figure: Tree and Cotree of the oriented graph

## Slide 27
EXAMPLE: From the Tree and Cotree Figure below, calculate the number of elements (e), number of nodes (n), number of branches (b), and number of links (l).
SOLUTION

## Slide 28: Cut Vertex and Cut-sets
If a single vertex removed and graph can be divided into two parts, than that vertex is called Cut Vertex.
If two or more than two vertex are removed from a graph than such set of vertices are known as Cut-sets

## Slide 29
EXAMPLE: Find the Cut vertices from the graph given below
SOLUTION
Cut vertices = c and e

## Slide 30: Incidence Matrix
The incidence matrix is an undirected graph has vertex written in a row and edges are written in a column.
Important property beauty of this matrix is that sum of any column is equal to zero.
Away from node = +1
Inward or Toward the node = -1
Otherwise = 0
Vertex = Nodes = No of rows = 4
Edges = Branches = No of columns = 6

## Slide 31: Incidence Matrix
Incidence Matrix is nothing but a mathematical model to represent the given network with all the information available. The information regarding the network is nothing but which branches are incident at which node and what are the orientations relative to the nodes. All this information is written in a matrix form which is called complete incidence matrix.
Figure: Network Figure: Oriented Graph
Nodes = A, B, C, D
Away from node = +1
Inward or Toward the node = -1
Otherwise = 0

## Slide 32: Incidence Matrix and KCL

## Slide 33
Remove last
row of incidence
matrix

## Slide 35: Properties of Incidence Matrix
The incidence matrix contains only two types of elements, 0 and 1.
This clearly is a binary matrix or a (0, 1)-matrix.
Every edge is incident on exactly two vertices, each column of A has exactly two one’s.
Sum of any column is equal to 0.

## Slide 36: END