## Slide 1
By
Dr. Wazir Muhammad Laghari
Electrical Engineering Department
BUET, Khuzdar
Computational Methods in
Power System Analysis
Lecture-5 Mathematical Model Of Power System Network (ZBUS MATRIX)

## Slide 2: Form YBUS matrix using Kron Method

## Slide 3: Form YBUS matrix using Kron Method
Eliminate node 4 and form New YBUS matrix using kron method

## Slide 4
Let j = 1, k = 1, n = 4
Let j = 2, k = 2, n = 4

## Slide 5
Let j = 3, k = 3, n = 4
Let j = 1, k = 2, n = 4
Let j = 1, k = 3, n = 4

## Slide 6
Let j = 2, k = 3, n = 4

## Slide 7: EXAMPLE: Apply the Kron Method to eliminate node 3 on a four bus system
SOLUTION
Interchange the rows 3 and 4
Now interchange the columns 3 and 4
Eliminate node 4 and form New YBUS matrix using kron method

## Slide 8
Eliminate node 4 and form New YBUS matrix using kron method
Let j = 1, k = 1, n = 4

## Slide 9
Let j = 2, k = 2, n = 4
Let j = 3, k = 3, n = 4
Let j = 1, k = 2, n = 4

## Slide 10
Let j = 1, k = 3, n = 4
Let j = 2, k = 3, n = 4

## Slide 11: ZBUS MATRIX
Z Matrix or bus impedance matrix is an important tool in power system analysis.
Though, it is not frequently used in power flow study, unlike Ybus matrix, it is, however, an important tool in other power system studies like short circuit analysis or fault study.
The Zbus matrix can be computed by matrix inversion of the Ybus matrix.
Since the Ybus matrix is usually sparse, the explicit the Zbus matrix would by dense so memory intensive to handle directly.
The diagonal elements of the Zbus are referred to as driving-point impedances of the buses.
The off-diagonal elements are called transfer impedances.

## Slide 12: BUS IMPEDANCE MATRIX [ZBUS]

## Slide 13: Example: Find the bus impedance matrix for system below having three buses connected with ground
Impedance of generator
SOLUTION

## Slide 15: Example: Find the bus impedance matrix for system below having three buses connected
SOLUTION
= j15

## Slide 17
Example: Find the bus impedance matrix of four bus connected system as shown below.
SOLUTION
Convert the Impedances values into Admittance
-j10
-j12.5
-j5
-j9
-j20
-j10

## Slide 20: END