## Slide 1
By
Dr. Wazir Muhammad Laghari
Electrical Engineering Department
BUET, Khuzdar
Computational Methods in
Power System Analysis
Lecture-8 Three-phase Unbalanced System

## Slide 3
M phase system with neutral present = m number of watt meters
M phase system without neutral = (m-1) number of watt meters
For m wires system m-1 watt meter
M-1 = 4-1 = 3

## Slide 4: 3 Wattmeter Method

## Slide 5
Unbalanced Three Phase System
120 degree
Waveform same magnitude with 120 degree
I same each phase
No current flows in neutral.
Less Power loss
Not 120 degree
Waveform same magnitude change the phase difference
I flows different in each phase
Current flows in neutral.
More Power loss

## Slide 6: Heating produces in machines and reduce the overall life of the machine. I2R Losses increase. Neutral required

## Slide 7
Given
V = 120V<0, -1200, 1200

## Slide 8
UNBALANCED DELTA-LOAD

## Slide 11
UNBALANCED Y-Y CONNECTION

## Slide 15: UNBALANCED Y-Y CONNECTION

## Slide 16
LOOP:1 From –ve to +ve (+ve sign, other wise -ve sign)