## Slide 2: primitive network
Network components are represented either by their impedance parameters or admittance parameters.
A primitive network is a set of unconnected elements. OR
The word Primitive is derived word from Prime which means Main or Original.
Primitive Network gives us the characteristics of each element of the network individually.
If we analyze the characteristics of whole network, we should know the characteristics of each element of that system.
It is a set of unconnected elements which provides information regarding the characteristics of individual elements. It can be represented both in impedance and admittance form.

## Slide 3: Primitive Networks
Here we discuss one single line diagram and shows one generating station connected with two buses B1 and B2 . In between two buses we used one transmission line and at final end load is there.
To analyze above system, first of all separate Generator.
To know the characteristics of generator, we used primitive network in two ways: one is called as primitive impedance network and other is primitive admittance network.

## Slide 4
Basic Electrical Laws are Ohms Law, KCL and KVL
Primitive Network
V = RI
V = ZI, where Z is Impedance
V = (1/Y)*I
I = YV, where Y is
Admittance
Primitive Impedance Network
Primitive Admittance Network